## Calibration Register
Scope of Work | Datasheet | Job No | Cert. No | Customer name | Address | Tel | FAX | PO | Instrument | Range | Model | Make | Serial | Cal by | Cal. Date | Due Date | Resolution | Accuracy | Tag | Location | Temp | Rel. Humidity | Atm. Press | Ratio | Issue Date | Remarks Status
Calibration | DS-0001 | 2610003 | AF-116521 | Power Electronics LLC | Dubai | 971573825534 | 9714838652 | PO-0015 | Pressure Gauge | 0.00 to 10.00 | PG-876 |  | 3H00427KC1T | Sham | 2026-10-05 20:00 | 2027-10-05 20:00 | 2 | 1.0 FS | 56643 | On-site | 22.4 | 56.5 | 1005.8 | 2 | 2026-10-05 20:00 | FAIL
Calibration | DS-0002 | 2610003 | AF-116522 | Power Electronics LLC | Dubai | 971573825534 | 9714838652 | PO-0015 | Pressure Gauge | 0.00 to 10.00 | PG-876 |  | 3H00475XVIT | Fazil | 2026-10-05 20:00 | 2027-10-05 20:00 | 0.2 | 1.0 FS | 34545 | On-site | 22.6 | 57.9 | 1005.8 | 2 | 2026-10-05 20:00 | FAIL
Calibration | DS-0003 | 2610003 | AF-116523 | Power Electronics LLC | Dubai | 971573825534 | 9714838652 | PO-0015 | Pressure Gauge | 0.00 to 10.00 | PG-876 |  | 3H00475XVIT | Sandya | 2026-10-05 20:00 | 2027-10-05 20:00 | 2 | 1 FS | 4553 | On-site | 22.4 | 56.5 | 1005.8 | 4 | 2026-10-05 20:00 | FAIL
|  | 2610001 | AF-116511 | Kent Hydra International FZE | Dubai. UAE |  |  | PO-0013 | Pressure Transmitter | 0.00 to 16.00 | PG-876 |  | 3H00427KC1T | Sandya | 2026-09-30 20:00 | 2027-09-30 20:00 | 0.5 | 1.0 FS | 4553 |  | 22.6 | 59.9 | 1007.5 | 0.2 | 2026-09-30 20:00 | PASS
|  | 2610001 | AF-116514 | Kent Hydra International FZE | Dubai. UAE |  |  | PO-0013 | Pressure Gauge | 0.00 to 25.00 | PG-675 |  | 3H00427KC1T | Fathima Nourin | 2026-09-30 20:00 | 2028-09-30 20:00 | 0.2 | 0.5% FS | 56643 |  | 22.6 | 57.9 | 1007.5 | 0.33 | 2026-09-30 20:00 | PASS
Calibration | DS-0005 | 2610004 | AF-116524 | Deltastar Power Projects LLC | Dubai | 971573825534 | 971483865219 | PO-0015 | Pressure Gauge | 0.00 to 10.00 | PG-876 |  | 3H00427KC1T | Sandya | 2026-10-08 20:00 | 2027-10-08 20:00 | 2 | 1.0 FS | 4553 | Lab | 22.6 | 59.9 | 1007.5 | 2 | 2026-10-08 20:00 | FAIL
| DS-0008 | 2610004 | AF-116527 | Deltastar Power Projects LLC | Dubai | 971573825534 | 971483865219 | PO-0015 | Pressure Gauge | 0.00 to 40.00 | PG-675 |  | PW00V1 | Sham | 2026-10-08 20:00 | 2027-10-08 20:00 | 1 | 1.0 FS | 56643 | Lab | 22.6 | 57.9 | 1007.5 | 2 | 2026-10-08 20:00 | PASS